%N antpol

%D Calculate instrumental polarization from averaged uv-data.

%P mchw

%: uv analysis

%B

ANTPOL - Calculate instrumental polarization from averaged uv-data.

ANTPOL does not apply the gains, bandpass, or polarization corrections.

%A vis

The input UV dataset name. No default.

%A select

This selects the data to be processed, using the standard uvselect

format. Default uses all the data.

%A line

this gives the linetype that is used, in the

form:

type,nchan,start,width,step

where type can be `channel' (default), `wide' or `velocity'.

Default is channel,1,1,1,1

%A log

The list output file name. The default is the terminal.