%N prthd

%D Print a summary about the contents of a data-set.

%P rjs

%: miscellaneous

%B

PRTHD is a Miriad task which gives a summary about a Miriad data-set.

A caveat when using visibilty files:

Some of the uv-variables printed will give the first value encountered.

For multi-source/telescope/frequency... datasets this may look confusing.

Programs like UVINDEX are more suitable to find out about these time varying

variables.

%A in

Name of the input data-set. No default. This may be either a uv

or image data-set. Several names can be given. Names can include

wildcards.

%A log

Output log file. Default is the terminal.

%A options

Extra processing options. Possible values are:

brief   Give one line description of each file.

full    Several line description of each file (default).