%N offaxis

%D Remove (or simulate) ATCA off-axis instrumental polarisation.

%P rjs

%: uv analysis

%B

OFFAXIS is a Miriad task which attempts to remove off-axis

instrumental polarisation from ATCA observations. As input,

OFFAXIS takes a visibility dataset and a model of the source

total intensity (Stokes I). Given this, it computes the expected

off-axis effects (given its internal models of the effects),

subtracts this from the data, and produces an output (nominally)

corrected dataset.

%A vis

Input visibility dataset. No default.

%A select

Normal visibility selection parameter. The default is to

select all data. See the help on "select" for more information.

%A line

Normal line parameter with the normal defaults. See the help on

"line" for more information.

%A stokes

Stokes/polarisations to be processed. The default is XX,YY,XY,YX.

The only other legitimate value is I.

%A model

Input model of the total intensity image. No default. This should

be the apparent total intensity (i.e. not corrected for primary

beam attenuation) in Jy/pixel

%A out

The name of the output, corrected, visibility dataset. No default.

%A clip

Pixels in the model less (in absolute value) than the clip level

are treated as if they are 0. The default is 0.

%A options

Task enrichment parameters. Several can be given, separated by

commas. Only the minimum number of characters to guarantee

uniqueness are needed. Possible options are:

replace   Normally OFFAXIS subtracts the computed off-axis

response from the data. This option causes the

visibility to be replaced with the model.

nocal     Do not apply any antenna gain calibration. The default

is to apply these if they are available.

nopol     Do not apply any polarization leakage correction. The

default is to apply these if they are available.

nopass    Do not apply bandpass calibration. The default is to

apply these calibrations if they are available.