%N varfit

%D Analyse correlations of antenna gains and uv-variables.

%P mchw/jhz

%: uv analysis

%B

VARFIT is a Miriad task to analyse the correlations of

antenna gains and uv-variables. VARFIT fits the following:

yaxis = slope *  xaxis +  intercept

D(yaxis) = slope * D(xaxis) + intercept

where D() is the difference between succesive samples,

xaxis, yaxis are the uv variables from single uvfiles.

In addition, VARFIT provides an option of regression for

the phases derived from the gains of two uvfiles and

plots both phase-phase diagram and phase residual vs UT time.

If either axis is an antenna gain, then SELFCAL must be run first

and the axes are sampled at the interval used in SELFCAL.

For linear regression between the two phase solutions, the setup

in the SELFCAL for the two simultaneously sampled data files needs

identical.

The rms and correlation coefficient are listed for each antenna.

%A vis

The input UV dataset name. The antenna gains must first be

derived for the selected linetype by the task SELFCAL with

the desired averaging interval.

%A xaxis

xaxis can be antenna gain ``amplitude'' or

``phase'', or any uv-variables. The default is ``time''.

%A yaxis

yaxis can be antenna gain ``amplitude'' or

``phase'', or any uv-variables. The default is ``phase''.

%A log

Output log file. Default is the terminal.

%A device

Standard PGPLOT device, if plot of yaxis versus xaxis is wanted.

Default is no plot.

%A nxy

Number of plots in the x and y directions. The default is 3,3.

%A xrange

The min and max range along the x axis of the plots. The default

is to autoscale. Note that for "time" should be given in days.

%A yrange

The min and max range along the y axis of the plots. The default

is to autoscale. Note that for "time" should be given in days.

%A refant

Reference antenna for gains and uv-variables. If refant.ne.0 then

the gain of this antenna is set to cmplx(1.,0.). The

other antenna gains are then relative to the reference antenna.

The uv-variable value for the refant is subtracted from each of the

other antennas. Single valued variables, e.g. time, are unchanged.

The default is to use the original gains and uv-variable values.

%A refant2

Reference antenna for cross correlation of gains and uv-variables.

Compare the gains or uv-variables between antennas by fitting

yaxis = slope * xaxis(refant2) + intercept

D(yaxis) = slope * D(xaxis(refant2)) + intercept

where D() is the difference between succesive samples.

%A phratio

Phase ratio (phase2/phase1) for slope input from users, which is

used for adding a line with an expected-phase-slope in phase-phase

linear regression plot when options=uniscale.

Default is 0.

%A nsigma

Number of sigmas specified by users to reject 'bad gains' (or

uncorrelated gains between receiver 2 and receiver 1) in

the linear regression between phase2 and phase1. The sigma here

is the uncertainty in the mean of the residual phase which is

the phase2 subtracted by the phase determined from the initial

fitting assuming the slope = freq2/freq1 in the linear regression

between phase2 and phase1. It must be positive.

nsigma = 4 is recommended. Default is 0, which means that no data

rejection is performed.

%A options

wrap         Do not unwrap phase.

xscale       Re-scale xaxis = slope * xaxis + offset, where slope

and offset are fitted w.r.t. xaxis(refant)

The fit is written into the log file. E.g.

yaxis=phase xaxis=tpower refant=4 log=tpscale

results can be used in the task tpgains to correct

tpower to a common Tsys scale.

yscale       Re-scale yaxis = slope * yaxis + offset, where slope

and offset are fitted w.r.t. yaxis(refant)

structure    Replace yaxis with it's structure function:

<{yaxis(i+k) - yaxis(i)}**2>

allan        Replace yaxis with it's Allan variance:

<{yaxis(i+2k) - 2*yaxis(i+k) + yaxis(i)}**2>

quad         Fit yaxis = a + b*xaxis + c*xaxis**2

where a and b are first derived from a linear fit.

The fit is written into the log file. E.g.

yaxis=tpower xaxis=tpower refant2=4 options=quad

results can be used in the task tpgains to correct

tpower to a common Tsys scale.

uniscale     use the maximum ranges in x and y axies

to make uniformly-scaled plots for each of the antennas.

phareg       do linear regression between phase1 and phase2 derived

from the gain tables in uvfile1 and uvfile2, respectively.

plot a solid line: phase2 = slope * phase1 + offset

with the raw phase corrections in the phase/phase diagram.

phatran      transfer phase2 from phase1 using the linear correlation

derived:

phase2 = slope * phase1 + offset

and using the transferred phase2 replaces the

phases in the gain table of file2.

gflag        excluding the failed gains in the phase regression.

tambient     do linear regression between the residual phase

(phase2-(slope * phase1 + offset)) and a variable

tambient which is antenna-based variable and stored

elsewehere (for example, SMA Sybase).

The data of tambient must be

stored in a ASCII file (tambient.dat) under the miriad

working area in the following format:

2005 2 18 8 RM_AMBIENTLOAD_TEMPERATURE_F

1

1439 tmp1.dat

0 1.437269e+01

1 1.437269e+01

2 1.437269e+01

...

2

1439 tmp2.dat

0 1.519706e+01

1 1.519706e+01

2 1.547185e+01

...

1st row is year,month,day,number of antenna,RM variable

followed by concatenated individual antenna files.

in each antenna section,

1st row is the antenna ID;

2nd row is  number of total data points and filename;

3rd and larger number rows contains the body of the data:

1st column is ut time in minute;

2nd column is the RM Variable.

For the SMA users, a C-shell script (TambSybase.csh)

is provided under $MIR/examples, which can be used

to extract the data from SMA sybase on the computer

d2o.sma.hawaii.edu at the SMA site in Hawaii.