%N smauvplt

%D Make plots from a UV-data base on a PGPLOT device.

%P jhz

%: uv analysis, plotting

%B

SmaUVPLT - Plot a variety of quantities from visibility data bases.

Options are available to time average data (plot with optional

error bars) and to plot different baselines on separate

sub-plots on each page plus many others. With no time-averaging

applied, the source-based visibilities are color-coded for each

of the source-based polarization components.

%A vis

The input visibility file(s). Multiple input files and wild card

card expansion are supported.

No default

%A line

This is the normal linetype specification. See the help on "line"

for more information. The default is all channels.

Note that if more than one channel is selected, the ones with good

flags are vector averaged into one point unless options=nofqav is

used. See also the average= keyword below

%A select

This selects which visibilities to be used. Default is all

visibilities. See the Users Guide for information about how

to specify uv data selection.

Default is all data

%A stokes

Select Stokes parameter(s) or polarization(s) from:

xx, yy, xy, yx,  i, q, u, v,

rr, ll, rl, lr

Default is all polarizations or Stokes parameters present

%A axis

Two values (minimum match active), one for each of the x

and y axes chosen from:

time                     [time in DD HH MM SS.S format]

dtime                    [time in decimal days format]

amplitude, real, imag    [natural units; Jy]

phase                    [degrees]

uu, vv, ww               [u, v & w in klambda]

uc, vc, wc               [u, v & w, -u, -v & -w in klambda]

uvdistance               [sqrt(u**2+v**2)]

uvangle                  [uv pos'n angle clockwise from v axis]

hangle                   [hour angle in HH MM SS.S]

dhangle                  [hour angle in decimal hours]

parang                   [parallactic angle in degrees]

lst                      [local sidereal time in decimal hours]

az                       [azimuth in degrees]

el                       [elevation in degrees]

airmass                  [airmass=1/sin(el)]

NOTE: parang is the true parallactic angle of the source, which can

be quite different from the angle between source and antenna feed

(Miriad variable chi).

Defaults are axis=time,amp  (x and y axes).

%A xrange

Plot range in the x-direction

If axis = uu, vv, or uvdistance [kilo-lambda;   2 values]

unless OPTIONS=NANOSEC;     then   nanoseconds]

If axis = uvangle               [degrees;       2 values]

If axis = time                  [dd,hh,mm,ss.s; 8 values]

If axis = dtime                 [decimal days;  2 values]

If axis = amplitude, real, imag [natural units; 2 values]

If axis = phase                 [degrees;       2 values]

If axis = hangle                [hh,mm,ss.s;    6 values]

If axis = dhangle               [decimal hours; 2 values]

If axis = parang                [degrees;       2 values]

If axis = az or el              [degrees;       2 values]

If axis = airmass               [natural units; 2 values]

If axis = lst                   [decimal hours; 2 values]

Default is to self-scale (see also OPTIONS=XIND).

%A yrange

Plot range in the y-direction as for the x axis.  The

default is to self-scale (see also OPTIONS=YIND).

%A average

The averaging time in minutes (unless OPTIONS=DAYS,HOURS,SECONDS).

Averaging is reset at frequency, source, or pointing centre

changes.  Individual baselines and polarizations are averaged

separately (unless OPTIONS=AVALL).  If you have selected multiple

channels and you also ask for time averaging, then all the

selected channels are averaged together in the time interval.

If you wish to use OPTIONS=AVALL to average everything on

the one subplot (e.g. polarizations) but don't want temporal

averaging, set AVERAGE to less than one integration.

Default is no averaging.

%A hann

Hanning smoothing length (an odd integer < 15).   Is applied

after any time averaging and INC selection. Useful for amplitude

or phase, say, plotted against time.  Error bars remain unaffected

by Hanning smoothing.  Currently, the Hanning smoothing is unaware

of source or frequency changes. Use SELECT if you have boundary

problems.

Default is no smoothing (hann = 1).

%A inc

Plot every INCth point (on each sub-plot) that would normally

have been selected.   Useful if you don't want to average, but

want to cut down on the number of plotted points.  Beware of

increments that divide exactly into the number of baselines

in time ordered data.

Default is 1.

%A dotsize

Allows users to choose a symbol (dot) size in a range between

1-201. The actual plotted dot size depends on the device

resolution. Other internal symbol selecting function

would be failed when this parameter is in use.

Default is to disable this function.

%A options

Task enrichment options. Minimum match is effective.

nocal   Do not apply the gain corrections

nopol   Do not apply the polarization leakage corrections

nopass  Do not apply the bandpass corrections

nofqav  By default, uvplt averages together all channels from

a visibility record before plotting. The nofqav option

disables this, and causes individual channels to be

plotted.  Note that this option is not active when

time averaging is invoked (frequency averaging is always

done then).

nobase  Plot all baselines on the same plot, otherwise

each baseline is plotted on a separate sub-plot.

notitle Do not write any title on the plot.  Probably most useful

if plotting all baselines on the same plot (using the

"nobase" option).

2pass   Normally uvplt makes assumptions about what it is

expecting to find in the data with regards polarizations

and baselines.   Under some conditions, uvplt may

report that it has not allocated sufficient buffer

space.  This option instructs uvplt to make two passes

through the data, the first to accumulate precise

information on the contents of the selected data so

that buffer space is optimally allocated.

unwrap  When plotting phase, try to unwrap it so that

say, if one point is 179 deg and the next -179,

they will be plotted as 179 and 181 deg.  NOTE:

Unwrapping noise can be VERY misleading.

rms     Draw error bars (+/- 1 standard deviation) on the plot if

averaging is invoked (not available yet for vector

averaging).

mrms    Draw error bars (+/- 1 standard deviation in the mean)

on the plot if averaging is invoked (not available yet

for vector averaging).

noerr   The automatically worked out min and max plot limits

will NOT include the ends of the error bars.

all     Plot flagged and unflagged visibilties

flagged Plot only flagged visibilities

The default is to plot only unflagged (good) visibilities

ALL overrides  FLAGGED

nanosec u and v are plotted in nano-seconds rather than k-lambda

days    The averaging interval is in days rather than minutes

hours   The averaging interval is in hours rather than minutes

seconds The averaging time is in seconds rather than minutes

xind    If the x-axis is self-scaled, then unless OPTIONS=NOBASE,

setting XIND will cause each sub-plot to have the x-axis

self-scaled independently.  The default is that the x-range

used is that which encompasses the ranges from all sub-plots.

yind    The equivalent for the y-axis.

equal   Plot x and y with equal scales.  Useful only for plots

like AXIS=UU,VV.  Does not mean the plot will necessarily

be square.

zero    Plot the x=0 and y=0 lines.

symbols Each file is plotted with a different plot symbol.

nocolor Each file is plotted with the same colour (white). By

default and when there is only one polarization, each

file has a separate colour.

dots    If time averaging is invoked, plot the data with dots

rather than filled in circles.  These plot much faster

on hardcopy devices.

source  Put the source name rather than the file name in the

plot title

inter   After the plot is drawn, you get a chance to redraw

the plot with a different x- and y-range, and also

on a different device.  In this way you can make a

hard-copy without re-running the program. In this case,

points outside of the user specified x,y-range are

ARE included in the plot buffer, so that if you redefine

the ranges, those points are available for plotting.

log     Write the values and errors (if averaging) that are

plotted into the log file.  No attempt to separate

baselines is made, except that automatically obtained

by not setting OPTIONS=NOBASE

%A title

Allow users to choose single title content with two characters:

title = BL    ->     Baseline label;

= PO    ->     Polarization label;

= FR    ->     Frequency label;

= AV    ->     Averaging time.

And the font size for the title and the axis labelling would be

enlarged by a factor of 1.5 in comparison with that in default.

Keyword size(1) is disabled.

Default is for labelling all the information above.

%A device

PGPLOT plot device/type. No default.

%A nxy

Number of plots in the x and y directions for when plotting

each baseline separately. Defaults try to choose something

sensible.

%A size

PGPLOT character sizes, in units of the default size (i.e., 1)

First value is for the labels, the second is for the symbol size

Defaults depend upon the number of sub-plots. The second value

defaults to the first. Non-default value of size will disable

the source labelling.

%A filelabel

This gives an option to label the file name in the plot:

filelabel = -1, not to label the file name, the default;

filelabel =  0, label the file name to each of panel plots;

filelabel =  1, label the file name to the 1st panel in

the case of multiple panels.

%A log

The output logfile name. The default is the terminal.

%A comment

A one line comment which is written into the logfile.