%N bootflux

%D Determine secondary source fluxes from visibilities.

%P lgm

%: uv-analysis

%B

BootFlux is a MIRIAD task which can be used to determine the fluxes

of secondary standards from primary standards. Both vector and scalar

averages are formed. It also prints out the rms scatter around the

vector mean, and the RMS variation in the amplitude.

For primary fluxes  from the source catalog a search of 40 GHz

and 100 days around the observing day/frequency is used and interpolated

for the assumed flux. This is output and using programs such as

calflux more intelligent determinations of their flux could be

attempted.

%A vis

The name of the input visibility datasets. You MUST include the datasets

for the sources that you want to derive fluxes for as well as the

dataset for the primary calibrator. Several files can be given,

wildcarding is supported. No default.

%A select

Standard uv selection. The default is all data.

%A line

Standard line-type specification. When there are multiple channels

selected, uvflux averages them all together. At this time, the program

can ONLY handle ONE CHANNEL at a time so you should specify

line=wide,1,1,1,1 or line=wide,1,2,1,1

%A stokes

Normal Stokes processing. You can select several Stokes or

polarisation parameters, which will be be averaged independently.

%A taver

Averaging time in minutes. Data will be vector averaged until

this amount of integration time has been accumulated or this amount

of wall-clock time has elapsed, which ever comes first.

Default: 5 minute averaging.

%A primary

Source name of primary flux standard, flux (or Tb for planets) of source

(optional). The source name MUST be the source name in the dataset,

NOT the name of the dataset.

Default: Source name MUST be specified, flux or Tb is optional.

%A badres

Used to drop baselines on which planet flux is resolved out. Input value

represents the minimum percentage planet visibility in baselines to be

included in the calibration calculation.

Default = 30.

%A record

Logical to indicate if results should be saved to archive flux files

and name of archive directory (if different from default)

default: false -- do not archive measured fluxes

default directory: ./measured_fluxes

%A options

Extra processing options. Several can be given, separated by

commas. Minimum match is used. Possible values are:

nocal    Do not apply any antenna gain calibration corrections.

By default these are applied if they exist.

nopol    Do not apply polarisation leakage corrections. By default

these are applied if they exist.

nopass   Do not apply bandpass corrections. By default these

are applied if they exist.

%A log

Log file name for output.

Default: No Log file.